{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":496,"n_cols":6,"rows_kept":496,"cut":false,"hidden":false,"merged":[]}
["顺序号","场站","场站标准化编号","风机号","遥测名称","遥测别名"]
[49,"右玉风光互补电站","WOF34900079",1,"b_右玉一期I-001风机SC状态","SXYY.T1_L1.WTG001.WTUR.AIStatusCode"]
[51,"右玉风光互补电站","WOF34900079",3,"b_右玉一期I-003风机SC状态","SXYY.T1_L1.WTG003.WTUR.AIStatusCode"]
[54,"右玉风光互补电站","WOF34900079",6,"b_右玉一期I-006风机SC状态","SXYY.T1_L1.WTG006.WTUR.AIStatusCode"]
[56,"右玉风光互补电站","WOF34900079",8,"b_右玉一期I-008风机SC状态","SXYY.T1_L1.WTG008.WTUR.AIStatusCode"]
[53,"右玉风光互补电站","WOF34900079",5,"b_右玉一期I-005风机SC状态","SXYY.T1_L1.WTG005.WTUR.AIStatusCode"]
[55,"右玉风光互补电站","WOF34900079",7,"b_右玉一期I-007风机SC状态","SXYY.T1_L1.WTG007.WTUR.AIStatusCode"]
[57,"右玉风光互补电站","WOF34900079",9,"b_右玉一期I-009风机SC状态","SXYY.T1_L1.WTG009.WTUR.AIStatusCode"]
[58,"右玉风光互补电站","WOF34900079",10,"b_右玉一期I-010风机SC状态","SXYY.T1_L1.WTG010.WTUR.AIStatusCode"]
[78,"右玉风光互补电站","WOF34900079",30,"b_右玉一期Ⅲ-030风机SC状态","SXYY.T1_L3.WTG030.WTUR.AIStatusCode"]
[64,"右玉风光互补电站","WOF34900079",16,"b_右玉一期Ⅱ-016风机SC状态","SXYY.T1_L2.WTG016.WTUR.AIStatusCode"]
[69,"右玉风光互补电站","WOF34900079",21,"b_右玉一期Ⅱ-021风机SC状态","SXYY.T1_L2.WTG021.WTUR.AIStatusCode"]
[74,"右玉风光互补电站","WOF34900079",26,"b_右玉一期Ⅲ-026风机SC状态","SXYY.T1_L3.WTG026.WTUR.AIStatusCode"]
[59,"右玉风光互补电站","WOF34900079",11,"b_右玉一期I-011风机SC状态","SXYY.T1_L1.WTG011.WTUR.AIStatusCode"]
[65,"右玉风光互补电站","WOF34900079",17,"b_右玉一期Ⅱ-017风机SC状态","SXYY.T1_L2.WTG017.WTUR.AIStatusCode"]
[70,"右玉风光互补电站","WOF34900079",22,"b_右玉一期Ⅱ-022风机SC状态","SXYY.T1_L2.WTG022.WTUR.AIStatusCode"]
[76,"右玉风光互补电站","WOF34900079",28,"b_右玉一期Ⅲ-028风机SC状态","SXYY.T1_L3.WTG028.WTUR.AIStatusCode"]
[60,"右玉风光互补电站","WOF34900079",12,"b_右玉一期Ⅱ-012风机SC状态","SXYY.T1_L2.WTG012.WTUR.AIStatusCode"]
[71,"右玉风光互补电站","WOF34900079",23,"b_右玉一期Ⅱ-023风机SC状态","SXYY.T1_L2.WTG023.WTUR.AIStatusCode"]
[66,"右玉风光互补电站","WOF34900079",18,"b_右玉一期Ⅱ-018风机SC状态","SXYY.T1_L2.WTG018.WTUR.AIStatusCode"]
[77,"右玉风光互补电站","WOF34900079",29,"b_右玉一期Ⅲ-029风机SC状态","SXYY.T1_L3.WTG029.WTUR.AIStatusCode"]
[61,"右玉风光互补电站","WOF34900079",13,"b_右玉一期Ⅱ-013风机SC状态","SXYY.T1_L2.WTG013.WTUR.AIStatusCode"]
[72,"右玉风光互补电站","WOF34900079",24,"b_右玉一期Ⅲ-024风机SC状态","SXYY.T1_L3.WTG024.WTUR.AIStatusCode"]
[67,"右玉风光互补电站","WOF34900079",19,"b_右玉一期Ⅱ-019风机SC状态","SXYY.T1_L2.WTG019.WTUR.AIStatusCode"]
[75,"右玉风光互补电站","WOF34900079",27,"b_右玉一期Ⅲ-027风机SC状态","SXYY.T1_L3.WTG027.WTUR.AIStatusCode"]
[62,"右玉风光互补电站","WOF34900079",14,"b_右玉一期Ⅱ-014风机SC状态","SXYY.T1_L2.WTG014.WTUR.AIStatusCode"]
[73,"右玉风光互补电站","WOF34900079",25,"b_右玉一期Ⅲ-025风机SC状态","SXYY.T1_L3.WTG025.WTUR.AIStatusCode"]
[63,"右玉风光互补电站","WOF34900079",15,"b_右玉一期Ⅱ-015风机SC状态","SXYY.T1_L2.WTG015.WTUR.AIStatusCode"]
[68,"右玉风光互补电站","WOF34900079",20,"b_右玉一期Ⅱ-020风机SC状态","SXYY.T1_L2.WTG020.WTUR.AIStatusCode"]
[50,"右玉风光互补电站","WOF34900079",2,"b_右玉一期I-002风机SC状态","SXYY.T1_L1.WTG002.WTUR.AIStatusCode"]
[52,"右玉风光互补电站","WOF34900079",4,"b_右玉一期I-004风机SC状态","SXYY.T1_L1.WTG004.WTUR.AIStatusCode"]
[81,"右玉风光互补电站","WOF34900079",33,"b_右玉一期Ⅲ-033风机SC状态","SXYY.T1_L3.WTG033.WTUR.AIStatusCode"]
[79,"右玉风光互补电站","WOF34900079",31,"b_右玉一期Ⅲ-031风机SC状态","SXYY.T1_L3.WTG031.WTUR.AIStatusCode"]
[80,"右玉风光互补电站","WOF34900079",32,"b_右玉一期Ⅲ-032风机SC状态","SXYY.T1_L3.WTG032.WTUR.AIStatusCode"]
[335,"平陆风电场","WOF35900004",7,"i_平陆一期 I-07风机SC状态","YCPL.T1_L1.WTG007.WTUR.AIStatusCode"]
[344,"平陆风电场","WOF35900004",16,"i_平陆一期 II-16风机SC状态","YCPL.T1_L2.WTG016.WTUR.AIStatusCode"]
[345,"平陆风电场","WOF35900004",17,"i_平陆一期 III-17风机SC状态","YCPL.T1_L3.WTG017.WTUR.AIStatusCode"]
[346,"平陆风电场","WOF35900004",18,"i_平陆一期 III-18风机SC状态","YCPL.T1_L3.WTG018.WTUR.AIStatusCode"]
[347,"平陆风电场","WOF35900004",19,"i_平陆一期 III-19风机SC状态","YCPL.T1_L3.WTG019.WTUR.AIStatusCode"]
[348,"平陆风电场","WOF35900004",20,"i_平陆一期 III-20风机SC状态","YCPL.T1_L3.WTG020.WTUR.AIStatusCode"]
[351,"平陆风电场","WOF35900004",23,"i_平陆一期 III-23风机SC状态","YCPL.T1_L3.WTG023.WTUR.AIStatusCode"]
[352,"平陆风电场","WOF35900004",24,"i_平陆一期 III-24风机SC状态","YCPL.T1_L3.WTG024.WTUR.AIStatusCode"]
[349,"平陆风电场","WOF35900004",21,"i_平陆一期 III-21风机SC状态","YCPL.T1_L3.WTG021.WTUR.AIStatusCode"]
[350,"平陆风电场","WOF35900004",22,"i_平陆一期 III-22风机SC状态","YCPL.T1_L3.WTG022.WTUR.AIStatusCode"]
[340,"平陆风电场","WOF35900004",12,"i_平陆一期 II-12风机SC状态","YCPL.T1_L2.WTG012.WTUR.AIStatusCode"]
[341,"平陆风电场","WOF35900004",13,"i_平陆一期 II-13风机SC状态","YCPL.T1_L2.WTG013.WTUR.AIStatusCode"]
[342,"平陆风电场","WOF35900004",14,"i_平陆一期 II-14风机SC状态","YCPL.T1_L2.WTG014.WTUR.AIStatusCode"]
[343,"平陆风电场","WOF35900004",15,"i_平陆一期 II-15风机SC状态","YCPL.T1_L2.WTG015.WTUR.AIStatusCode"]
[339,"平陆风电场","WOF35900004",11,"i_平陆一期 II-11风机SC状态","YCPL.T1_L2.WTG011.WTUR.AIStatusCode"]
[336,"平陆风电场","WOF35900004",8,"i_平陆一期 II-08风机SC状态","YCPL.T1_L2.WTG008.WTUR.AIStatusCode"]
[337,"平陆风电场","WOF35900004",9,"i_平陆一期 II-09风机SC状态","YCPL.T1_L2.WTG009.WTUR.AIStatusCode"]
[338,"平陆风电场","WOF35900004",10,"i_平陆一期 II-10风机SC状态","YCPL.T1_L2.WTG010.WTUR.AIStatusCode"]
[329,"平陆风电场","WOF35900004",1,"i_平陆一期 I-01风机SC状态","YCPL.T1_L1.WTG001.WTUR.AIStatusCode"]
[330,"平陆风电场","WOF35900004",2,"i_平陆一期 I-02风机SC状态","YCPL.T1_L1.WTG002.WTUR.AIStatusCode"]
[331,"平陆风电场","WOF35900004",3,"i_平陆一期 I-03风机SC状态","YCPL.T1_L1.WTG003.WTUR.AIStatusCode"]
[332,"平陆风电场","WOF35900004",4,"i_平陆一期 I-04风机SC状态","YCPL.T1_L1.WTG004.WTUR.AIStatusCode"]
[333,"平陆风电场","WOF35900004",5,"i_平陆一期 I-05风机SC状态","YCPL.T1_L1.WTG005.WTUR.AIStatusCode"]
[334,"平陆风电场","WOF35900004",6,"i_平陆一期 I-06风机SC状态","YCPL.T1_L1.WTG006.WTUR.AIStatusCode"]
[396,"平陆风电场","WOF35900004",48,"i_平陆二期 V-48风机SC状态","YCPL.T2_L2.WTG048.WTUR.AIStatusCode"]
[389,"平陆风电场","WOF35900004",41,"i_平陆二期 V-41风机SC状态","YCPL.T2_L2.WTG041.WTUR.AIStatusCode"]
[375,"平陆风电场","WOF35900004",27,"i_平陆二期 IV-27风机SC状态","YCPL.T2_L1.WTG027.WTUR.AIStatusCode"]
[382,"平陆风电场","WOF35900004",34,"i_平陆二期 IV-34风机SC状态","YCPL.T2_L1.WTG034.WTUR.AIStatusCode"]
[390,"平陆风电场","WOF35900004",42,"i_平陆二期 V-42风机SC状态","YCPL.T2_L2.WTG042.WTUR.AIStatusCode"]
[376,"平陆风电场","WOF35900004",28,"i_平陆二期 IV-28风机SC状态","YCPL.T2_L1.WTG028.WTUR.AIStatusCode"]
[383,"平陆风电场","WOF35900004",35,"i_平陆二期 IV-35风机SC状态","YCPL.T2_L1.WTG035.WTUR.AIStatusCode"]
[391,"平陆风电场","WOF35900004",43,"i_平陆二期 V-43风机SC状态","YCPL.T2_L2.WTG043.WTUR.AIStatusCode"]
[377,"平陆风电场","WOF35900004",29,"i_平陆二期 IV-29风机SC状态","YCPL.T2_L1.WTG029.WTUR.AIStatusCode"]
[384,"平陆风电场","WOF35900004",36,"i_平陆二期 IV-36风机SC状态","YCPL.T2_L1.WTG036.WTUR.AIStatusCode"]
[392,"平陆风电场","WOF35900004",44,"i_平陆二期 V-44风机SC状态","YCPL.T2_L2.WTG044.WTUR.AIStatusCode"]
[378,"平陆风电场","WOF35900004",30,"i_平陆二期 IV-30风机SC状态","YCPL.T2_L1.WTG030.WTUR.AIStatusCode"]
[385,"平陆风电场","WOF35900004",37,"i_平陆二期 V-37风机SC状态","YCPL.T2_L2.WTG037.WTUR.AIStatusCode"]
[393,"平陆风电场","WOF35900004",45,"i_平陆二期 V-45风机SC状态","YCPL.T2_L2.WTG045.WTUR.AIStatusCode"]
[379,"平陆风电场","WOF35900004",31,"i_平陆二期 IV-31风机SC状态","YCPL.T2_L1.WTG031.WTUR.AIStatusCode"]
[386,"平陆风电场","WOF35900004",38,"i_平陆二期 V-38风机SC状态","YCPL.T2_L2.WTG038.WTUR.AIStatusCode"]
[394,"平陆风电场","WOF35900004",46,"i_平陆二期 V-46风机SC状态","YCPL.T2_L2.WTG046.WTUR.AIStatusCode"]
[380,"平陆风电场","WOF35900004",32,"i_平陆二期 IV-32风机SC状态","YCPL.T2_L1.WTG032.WTUR.AIStatusCode"]
[387,"平陆风电场","WOF35900004",39,"i_平陆二期 V-39风机SC状态","YCPL.T2_L2.WTG039.WTUR.AIStatusCode"]
[373,"平陆风电场","WOF35900004",25,"i_平陆二期 IV-25风机SC状态","YCPL.T2_L1.WTG025.WTUR.AIStatusCode"]
[395,"平陆风电场","WOF35900004",47,"i_平陆二期 V-47风机SC状态","YCPL.T2_L2.WTG047.WTUR.AIStatusCode"]
[381,"平陆风电场","WOF35900004",33,"i_平陆二期 IV-33风机SC状态","YCPL.T2_L1.WTG033.WTUR.AIStatusCode"]
[388,"平陆风电场","WOF35900004",40,"i_平陆二期 V-40风机SC状态","YCPL.T2_L2.WTG040.WTUR.AIStatusCode"]
[374,"平陆风电场","WOF35900004",26,"i_平陆二期 IV-26风机SC状态","YCPL.T2_L1.WTG026.WTUR.AIStatusCode"]
[415,"芮城风电场","WOF35900078",1,"j_芮城一期Ⅲ-001 风机SC状态","SXRC.T1_L1.WTG001.WTUR.AIStatusCode"]
[416,"芮城风电场","WOF35900078",2,"j_芮城一期Ⅲ-002 风机SC状态","SXRC.T1_L1.WTG002.WTUR.AIStatusCode"]
[417,"芮城风电场","WOF35900078",3,"j_芮城一期Ⅲ-003 风机SC状态","SXRC.T1_L1.WTG003.WTUR.AIStatusCode"]
[418,"芮城风电场","WOF35900078",4,"j_芮城一期Ⅲ-004 风机SC状态","SXRC.T1_L1.WTG004.WTUR.AIStatusCode"]
[419,"芮城风电场","WOF35900078",5,"j_芮城一期Ⅲ-005 风机SC状态","SXRC.T1_L1.WTG005.WTUR.AIStatusCode"]
[420,"芮城风电场","WOF35900078",6,"j_芮城一期Ⅲ-006 风机SC状态","SXRC.T1_L1.WTG006.WTUR.AIStatusCode"]
[421,"芮城风电场","WOF35900078",7,"j_芮城一期Ⅲ-007 风机SC状态","SXRC.T1_L1.WTG007.WTUR.AIStatusCode"]
[422,"芮城风电场","WOF35900078",8,"j_芮城一期Ⅲ-008 风机SC状态","SXRC.T1_L1.WTG008.WTUR.AIStatusCode"]
[423,"芮城风电场","WOF35900078",10,"j_芮城一期Ⅲ-010 风机SC状态","SXRC.T1_L1.WTG010.WTUR.AIStatusCode"]
[424,"芮城风电场","WOF35900078",11,"j_芮城一期Ⅲ-011 风机SC状态","SXRC.T1_L1.WTG011.WTUR.AIStatusCode"]
[425,"芮城风电场","WOF35900078",12,"j_芮城一期Ⅲ-012 风机SC状态","SXRC.T1_L1.WTG012.WTUR.AIStatusCode"]
[397,"芮城风电场","WOF35900078",13,"j_芮城一期Ⅱ-013 风机SC状态","SXRC.T1_L2.WTG013.WTUR.AIStatusCode"]
[398,"芮城风电场","WOF35900078",14,"j_芮城一期Ⅱ-014 风机SC状态","SXRC.T1_L2.WTG014.WTUR.AIStatusCode"]
[399,"芮城风电场","WOF35900078",15,"j_芮城一期Ⅱ-015 风机SC状态","SXRC.T1_L2.WTG015.WTUR.AIStatusCode"]
[400,"芮城风电场","WOF35900078",16,"j_芮城一期Ⅱ-016 风机SC状态","SXRC.T1_L2.WTG016.WTUR.AIStatusCode"]
[401,"芮城风电场","WOF35900078",17,"j_芮城一期Ⅱ-017 风机SC状态","SXRC.T1_L2.WTG017.WTUR.AIStatusCode"]
[402,"芮城风电场","WOF35900078",18,"j_芮城一期Ⅱ-018 风机SC状态","SXRC.T1_L2.WTG018.WTUR.AIStatusCode"]
[403,"芮城风电场","WOF35900078",19,"j_芮城一期Ⅱ-019 风机SC状态","SXRC.T1_L2.WTG019.WTUR.AIStatusCode"]
[404,"芮城风电场","WOF35900078",21,"j_芮城一期Ⅱ-021 风机SC状态","SXRC.T1_L2.WTG021.WTUR.AIStatusCode"]
[405,"芮城风电场","WOF35900078",23,"j_芮城一期Ⅱ-023 风机SC状态","SXRC.T1_L2.WTG023.WTUR.AIStatusCode"]
[406,"芮城风电场","WOF35900078",24,"j_芮城一期Ⅱ-024 风机SC状态","SXRC.T1_L2.WTG024.WTUR.AIStatusCode"]
[407,"芮城风电场","WOF35900078",25,"j_芮城一期Ⅱ-025 风机SC状态","SXRC.T1_L2.WTG025.WTUR.AIStatusCode"]
[408,"芮城风电场","WOF35900078",26,"j_芮城一期Ⅱ-026 风机SC状态","SXRC.T1_L2.WTG026.WTUR.AIStatusCode"]
[409,"芮城风电场","WOF35900078",28,"j_芮城一期Ⅱ-028 风机SC状态","SXRC.T1_L2.WTG028.WTUR.AIStatusCode"]
[410,"芮城风电场","WOF35900078",29,"j_芮城一期Ⅱ-029 风机SC状态","SXRC.T1_L2.WTG029.WTUR.AIStatusCode"]
[411,"芮城风电场","WOF35900078",30,"j_芮城一期Ⅱ-030 风机SC状态","SXRC.T1_L2.WTG030.WTUR.AIStatusCode"]
[412,"芮城风电场","WOF35900078",31,"j_芮城一期Ⅱ-031 风机SC状态","SXRC.T1_L2.WTG031.WTUR.AIStatusCode"]
[413,"芮城风电场","WOF35900078",32,"j_芮城一期Ⅱ-032 风机SC状态","SXRC.T1_L2.WTG032.WTUR.AIStatusCode"]
[414,"芮城风电场","WOF35900078",33,"j_芮城一期Ⅱ-033 风机SC状态","SXRC.T1_L2.WTG033.WTUR.AIStatusCode"]
[224,"盂县风光互补电站","WOF35800082",1,"f_盂县一期Ⅰ-001主控次要SC","SXYX.T1_L1.WTG001.WTUR.StatusCode"]
[225,"盂县风光互补电站","WOF35800082",2,"f_盂县一期Ⅰ-002主控次要SC","SXYX.T1_L1.WTG002.WTUR.StatusCode"]
[247,"盂县风光互补电站","WOF35800082",24,"f_盂县一期Ⅱ-024主控次要SC","SXYX.T1_L2.WTG024.WTUR.StatusCode"]
[248,"盂县风光互补电站","WOF35800082",25,"f_盂县一期Ⅱ-025主控次要SC","SXYX.T1_L2.WTG025.WTUR.StatusCode"]
[250,"盂县风光互补电站","WOF35800082",27,"f_盂县一期Ⅱ-027主控次要SC","SXYX.T1_L2.WTG027.WTUR.StatusCode"]
[251,"盂县风光互补电站","WOF35800082",28,"f_盂县一期Ⅱ-028主控次要SC","SXYX.T1_L2.WTG028.WTUR.StatusCode"]
[252,"盂县风光互补电站","WOF35800082",29,"f_盂县一期Ⅱ-029主控次要SC","SXYX.T1_L2.WTG029.WTUR.StatusCode"]
[253,"盂县风光互补电站","WOF35800082",30,"f_盂县一期Ⅱ-030主控次要SC","SXYX.T1_L2.WTG030.WTUR.StatusCode"]
[254,"盂县风光互补电站","WOF35800082",31,"f_盂县一期Ⅱ-031主控次要SC","SXYX.T1_L2.WTG031.WTUR.StatusCode"]
[255,"盂县风光互补电站","WOF35800082",32,"f_盂县一期Ⅱ-032主控次要SC","SXYX.T1_L2.WTG032.WTUR.StatusCode"]
[256,"盂县风光互补电站","WOF35800082",33,"f_盂县一期Ⅱ-033主控次要SC","SXYX.T1_L2.WTG033.WTUR.StatusCode"]
[226,"盂县风光互补电站","WOF35800082",3,"f_盂县一期Ⅰ-003主控次要SC","SXYX.T1_L1.WTG003.WTUR.StatusCode"]
[228,"盂县风光互补电站","WOF35800082",5,"f_盂县一期Ⅰ-005主控次要SC","SXYX.T1_L1.WTG005.WTUR.StatusCode"]
[229,"盂县风光互补电站","WOF35800082",6,"f_盂县一期Ⅰ-006主控次要SC","SXYX.T1_L1.WTG006.WTUR.StatusCode"]
[230,"盂县风光互补电站","WOF35800082",7,"f_盂县一期Ⅰ-007主控次要SC","SXYX.T1_L1.WTG007.WTUR.StatusCode"]
[231,"盂县风光互补电站","WOF35800082",8,"f_盂县一期Ⅰ-008主控次要SC","SXYX.T1_L1.WTG008.WTUR.StatusCode"]
[232,"盂县风光互补电站","WOF35800082",9,"f_盂县一期Ⅰ-009主控次要SC","SXYX.T1_L1.WTG009.WTUR.StatusCode"]
[233,"盂县风光互补电站","WOF35800082",10,"f_盂县一期Ⅰ-010主控次要SC","SXYX.T1_L1.WTG010.WTUR.StatusCode"]
[234,"盂县风光互补电站","WOF35800082",11,"f_盂县一期Ⅰ-011主控次要SC","SXYX.T1_L1.WTG011.WTUR.StatusCode"]
[235,"盂县风光互补电站","WOF35800082",12,"f_盂县一期Ⅰ-012主控次要SC","SXYX.T1_L1.WTG012.WTUR.StatusCode"]
[236,"盂县风光互补电站","WOF35800082",13,"f_盂县一期Ⅰ-013主控次要SC","SXYX.T1_L1.WTG013.WTUR.StatusCode"]
[237,"盂县风光互补电站","WOF35800082",14,"f_盂县一期Ⅰ-014主控次要SC","SXYX.T1_L1.WTG014.WTUR.StatusCode"]
[238,"盂县风光互补电站","WOF35800082",15,"f_盂县一期Ⅰ-015主控次要SC","SXYX.T1_L1.WTG015.WTUR.StatusCode"]
[245,"盂县风光互补电站","WOF35800082",22,"f_盂县一期Ⅱ-022主控次要SC","SXYX.T1_L2.WTG022.WTUR.StatusCode"]
[246,"盂县风光互补电站","WOF35800082",23,"f_盂县一期Ⅱ-023主控次要SC","SXYX.T1_L2.WTG023.WTUR.StatusCode"]
[249,"盂县风光互补电站","WOF35800082",26,"f_盂县一期Ⅱ-026主控次要SC","SXYX.T1_L2.WTG026.WTUR.StatusCode"]
[227,"盂县风光互补电站","WOF35800082",4,"f_盂县一期Ⅰ-004主控次要SC","SXYX.T1_L1.WTG004.WTUR.StatusCode"]
[239,"盂县风光互补电站","WOF35800082",16,"f_盂县一期Ⅰ-016主控次要SC","SXYX.T1_L1.WTG016.WTUR.StatusCode"]
[240,"盂县风光互补电站","WOF35800082",17,"f_盂县一期Ⅰ-017主控次要SC","SXYX.T1_L1.WTG017.WTUR.StatusCode"]
[241,"盂县风光互补电站","WOF35800082",18,"f_盂县一期Ⅱ-018主控次要SC","SXYX.T1_L2.WTG018.WTUR.StatusCode"]
[242,"盂县风光互补电站","WOF35800082",19,"f_盂县一期Ⅱ-019主控次要SC","SXYX.T1_L2.WTG019.WTUR.StatusCode"]
[243,"盂县风光互补电站","WOF35800082",20,"f_盂县一期Ⅱ-020主控次要SC","SXYX.T1_L2.WTG020.WTUR.StatusCode"]
[244,"盂县风光互补电站","WOF35800082",21,"f_盂县一期Ⅱ-021主控次要SC","SXYX.T1_L2.WTG021.WTUR.StatusCode"]
[267,"盂县风光互补电站","WOF35800082",34,"f_盂县二期Ⅲ-034 主控次要SC","SXYX.T2_L1.WTG034.WTUR.StatusCode"]
[268,"盂县风光互补电站","WOF35800082",35,"f_盂县二期Ⅲ-035 主控次要SC","SXYX.T2_L1.WTG035.WTUR.StatusCode"]
[269,"盂县风光互补电站","WOF35800082",36,"f_盂县二期Ⅲ-036 主控次要SC","SXYX.T2_L1.WTG036.WTUR.StatusCode"]
[270,"盂县风光互补电站","WOF35800082",37,"f_盂县二期Ⅲ-037 主控次要SC","SXYX.T2_L1.WTG037.WTUR.StatusCode"]
[271,"盂县风光互补电站","WOF35800082",38,"f_盂县二期Ⅲ-038 主控次要SC","SXYX.T2_L1.WTG038.WTUR.StatusCode"]
[272,"盂县风光互补电站","WOF35800082",39,"f_盂县二期Ⅲ-039 主控次要SC","SXYX.T2_L1.WTG039.WTUR.StatusCode"]
[273,"盂县风光互补电站","WOF35800082",40,"f_盂县二期Ⅲ-040 主控次要SC","SXYX.T2_L1.WTG040.WTUR.StatusCode"]
[274,"盂县风光互补电站","WOF35800082",41,"f_盂县二期Ⅲ-041 主控次要SC","SXYX.T2_L1.WTG041.WTUR.StatusCode"]
[275,"盂县风光互补电站","WOF35800082",42,"f_盂县二期Ⅲ-042 主控次要SC","SXYX.T2_L1.WTG042.WTUR.StatusCode"]
[276,"盂县风光互补电站","WOF35800082",43,"f_盂县二期Ⅲ-043 主控次要SC","SXYX.T2_L1.WTG043.WTUR.StatusCode"]
[277,"盂县风光互补电站","WOF35800082",44,"f_盂县二期Ⅳ-044 主控次要SC","SXYX.T2_L2.WTG044.WTUR.StatusCode"]
[278,"盂县风光互补电站","WOF35800082",45,"f_盂县二期Ⅳ-045 主控次要SC","SXYX.T2_L2.WTG045.WTUR.StatusCode"]
[279,"盂县风光互补电站","WOF35800082",46,"f_盂县二期Ⅳ-046 主控次要SC","SXYX.T2_L2.WTG046.WTUR.StatusCode"]
[280,"盂县风光互补电站","WOF35800082",47,"f_盂县二期Ⅳ-047 主控次要SC","SXYX.T2_L2.WTG047.WTUR.StatusCode"]
[281,"盂县风光互补电站","WOF35800082",48,"f_盂县二期Ⅳ-048 主控次要SC","SXYX.T2_L2.WTG048.WTUR.StatusCode"]
[282,"盂县风光互补电站","WOF35800082",49,"f_盂县二期Ⅳ-049 主控次要SC","SXYX.T2_L2.WTG049.WTUR.StatusCode"]
[283,"盂县风光互补电站","WOF35800082",50,"f_盂县二期Ⅳ-050 主控次要SC","SXYX.T2_L2.WTG050.WTUR.StatusCode"]
[284,"盂县风光互补电站","WOF35800082",51,"f_盂县二期Ⅳ-051 主控次要SC","SXYX.T2_L2.WTG051.WTUR.StatusCode"]
[285,"盂县风光互补电站","WOF35800082",52,"f_盂县二期Ⅳ-052 主控次要SC","SXYX.T2_L2.WTG052.WTUR.StatusCode"]
[286,"盂县风光互补电站","WOF35800082",53,"f_盂县二期Ⅳ-053 主控次要SC","SXYX.T2_L2.WTG053.WTUR.StatusCode"]
[287,"盂县风光互补电站","WOF35800082",54,"f_盂县二期Ⅳ-054 主控次要SC","SXYX.T2_L2.WTG054.WTUR.StatusCode"]
[288,"盂县风光互补电站","WOF35800082",55,"f_盂县二期Ⅳ-055 主控次要SC","SXYX.T2_L2.WTG055.WTUR.StatusCode"]
[289,"盂县风光互补电站","WOF35800082",56,"f_盂县二期Ⅳ-056 主控次要SC","SXYX.T2_L2.WTG056.WTUR.StatusCode"]
[82,"右玉风光互补电站","WOF34900079",34,"b_右玉二期Ⅳ-034 主控次要SC","SXYY.T2_L1.WTG034.WTUR.StatusCode"]
[83,"右玉风光互补电站","WOF34900079",35,"b_右玉二期Ⅳ-035 主控次要SC","SXYY.T2_L1.WTG035.WTUR.StatusCode"]
[84,"右玉风光互补电站","WOF34900079",36,"b_右玉二期Ⅳ-036 主控次要SC","SXYY.T2_L1.WTG036.WTUR.StatusCode"]
[85,"右玉风光互补电站","WOF34900079",37,"b_右玉二期Ⅳ-037 主控次要SC","SXYY.T2_L1.WTG037.WTUR.StatusCode"]
[86,"右玉风光互补电站","WOF34900079",38,"b_右玉二期Ⅳ-038 主控次要SC","SXYY.T2_L1.WTG038.WTUR.StatusCode"]
[87,"右玉风光互补电站","WOF34900079",39,"b_右玉二期Ⅳ-039 主控次要SC","SXYY.T2_L1.WTG039.WTUR.StatusCode"]
[88,"右玉风光互补电站","WOF34900079",40,"b_右玉二期Ⅳ-040 主控次要SC","SXYY.T2_L1.WTG040.WTUR.StatusCode"]
[89,"右玉风光互补电站","WOF34900079",41,"b_右玉二期Ⅳ-041 主控次要SC","SXYY.T2_L1.WTG041.WTUR.StatusCode"]
[90,"右玉风光互补电站","WOF34900079",42,"b_右玉二期Ⅴ-042 主控次要SC","SXYY.T2_L2.WTG042.WTUR.StatusCode"]
[91,"右玉风光互补电站","WOF34900079",43,"b_右玉二期Ⅴ-043 主控次要SC","SXYY.T2_L2.WTG043.WTUR.StatusCode"]
[92,"右玉风光互补电站","WOF34900079",44,"b_右玉二期Ⅴ-044 主控次要SC","SXYY.T2_L2.WTG044.WTUR.StatusCode"]
[93,"右玉风光互补电站","WOF34900079",45,"b_右玉二期Ⅴ-045 主控次要SC","SXYY.T2_L2.WTG045.WTUR.StatusCode"]
[94,"右玉风光互补电站","WOF34900079",46,"b_右玉二期Ⅴ-046 主控次要SC","SXYY.T2_L2.WTG046.WTUR.StatusCode"]
[95,"右玉风光互补电站","WOF34900079",47,"b_右玉二期Ⅴ-047 主控次要SC","SXYY.T2_L2.WTG047.WTUR.StatusCode"]
[96,"右玉风光互补电站","WOF34900079",48,"b_右玉二期Ⅴ-048 主控次要SC","SXYY.T2_L2.WTG048.WTUR.StatusCode"]
[97,"右玉风光互补电站","WOF34900079",49,"b_右玉二期Ⅴ-049 主控次要SC","SXYY.T2_L2.WTG049.WTUR.StatusCode"]
[98,"右玉风光互补电站","WOF34900079",50,"b_右玉二期Ⅵ-050 主控次要SC","SXYY.T2_L3.WTG050.WTUR.StatusCode"]
[99,"右玉风光互补电站","WOF34900079",51,"b_右玉二期Ⅵ-051 主控次要SC","SXYY.T2_L3.WTG051.WTUR.StatusCode"]
[100,"右玉风光互补电站","WOF34900079",52,"b_右玉二期Ⅵ-052 主控次要SC","SXYY.T2_L3.WTG052.WTUR.StatusCode"]
[101,"右玉风光互补电站","WOF34900079",53,"b_右玉二期Ⅵ-053 主控次要SC","SXYY.T2_L3.WTG053.WTUR.StatusCode"]
[102,"右玉风光互补电站","WOF34900079",54,"b_右玉二期Ⅵ-054 主控次要SC","SXYY.T2_L3.WTG054.WTUR.StatusCode"]
[103,"右玉风光互补电站","WOF34900079",55,"b_右玉二期Ⅵ-055 主控次要SC","SXYY.T2_L3.WTG055.WTUR.StatusCode"]
[104,"右玉风光互补电站","WOF34900079",56,"b_右玉二期Ⅵ-056 主控次要SC","SXYY.T2_L3.WTG056.WTUR.StatusCode"]
[105,"右玉风光互补电站","WOF34900079",57,"b_右玉二期Ⅵ-057 主控次要SC","SXYY.T2_L3.WTG057.WTUR.StatusCode"]
[426,"芮城风电场","WOF35900078",34,"j_芮城二期Ⅰ-034 风机SC状态","SXRC.T2_L3.WTG034.WTUR.AIStatusCode"]
[427,"芮城风电场","WOF35900078",35,"j_芮城二期Ⅰ-035 风机SC状态","SXRC.T2_L3.WTG035.WTUR.AIStatusCode"]
[428,"芮城风电场","WOF35900078",36,"j_芮城二期Ⅰ-036 风机SC状态","SXRC.T2_L3.WTG036.WTUR.AIStatusCode"]
[429,"芮城风电场","WOF35900078",37,"j_芮城二期Ⅰ-037 风机SC状态","SXRC.T2_L3.WTG037.WTUR.AIStatusCode"]
[430,"芮城风电场","WOF35900078",38,"j_芮城二期Ⅰ-038 风机SC状态","SXRC.T2_L3.WTG038.WTUR.AIStatusCode"]
[431,"芮城风电场","WOF35900078",39,"j_芮城二期Ⅰ-039 风机SC状态","SXRC.T2_L3.WTG039.WTUR.AIStatusCode"]
[432,"芮城风电场","WOF35900078",40,"j_芮城二期Ⅰ-040 风机SC状态","SXRC.T2_L3.WTG040.WTUR.AIStatusCode"]
[433,"芮城风电场","WOF35900078",41,"j_芮城二期Ⅰ-041 风机SC状态","SXRC.T2_L3.WTG041.WTUR.AIStatusCode"]
[434,"芮城风电场","WOF35900078",42,"j_芮城二期Ⅰ-042 风机SC状态","SXRC.T2_L3.WTG042.WTUR.AIStatusCode"]
[435,"芮城风电场","WOF35900078",43,"j_芮城二期Ⅰ-043 风机SC状态","SXRC.T2_L3.WTG043.WTUR.AIStatusCode"]
[257,"盂县风光互补电站","WOF35800082",57,"f_盂县三期Ⅴ-057 风机SC状态","SXYX.T3_L5.WTG057.WTUR.AIStatusCode"]
[258,"盂县风光互补电站","WOF35800082",58,"f_盂县三期Ⅴ-058 风机SC状态","SXYX.T3_L5.WTG058.WTUR.AIStatusCode"]
[259,"盂县风光互补电站","WOF35800082",59,"f_盂县三期Ⅴ-059 风机SC状态","SXYX.T3_L5.WTG059.WTUR.AIStatusCode"]
[260,"盂县风光互补电站","WOF35800082",60,"f_盂县三期Ⅴ-060 风机SC状态","SXYX.T3_L5.WTG060.WTUR.AIStatusCode"]
[261,"盂县风光互补电站","WOF35800082",61,"f_盂县三期Ⅴ-061 风机SC状态","SXYX.T3_L5.WTG061.WTUR.AIStatusCode"]
[262,"盂县风光互补电站","WOF35800082",62,"f_盂县三期Ⅴ-062 风机SC状态","SXYX.T3_L5.WTG062.WTUR.AIStatusCode"]
[263,"盂县风光互补电站","WOF35800082",63,"f_盂县三期Ⅴ-063 风机SC状态","SXYX.T3_L5.WTG063.WTUR.AIStatusCode"]
[264,"盂县风光互补电站","WOF35800082",64,"f_盂县三期Ⅴ-064 风机SC状态","SXYX.T3_L5.WTG064.WTUR.AIStatusCode"]
[265,"盂县风光互补电站","WOF35800082",65,"f_盂县三期Ⅴ-065 风机SC状态","SXYX.T3_L5.WTG065.WTUR.AIStatusCode"]
[266,"盂县风光互补电站","WOF35800082",66,"f_盂县三期Ⅴ-066 风机SC状态","SXYX.T3_L5.WTG066.WTUR.AIStatusCode"]
[165,"古交风电场","WOF35100073",10,"d_古交一期Ⅱ-010 主控次要SC","SXGJ.T1_L2.WTG010.WTUR.AIStatusCode"]
[173,"古交风电场","WOF35100073",18,"d_古交一期Ⅲ-018 主控次要SC","SXGJ.T1_L3.WTG018.WTUR.AIStatusCode"]
[171,"古交风电场","WOF35100073",16,"d_古交一期Ⅲ-016 主控次要SC","SXGJ.T1_L3.WTG016.WTUR.AIStatusCode"]
[177,"古交风电场","WOF35100073",22,"d_古交一期Ⅲ-022 主控次要SC","SXGJ.T1_L3.WTG022.WTUR.AIStatusCode"]
[162,"古交风电场","WOF35100073",7,"d_古交一期Ⅰ-007 主控次要SC","SXGJ.T1_L1.WTG007.WTUR.AIStatusCode"]
[168,"古交风电场","WOF35100073",13,"d_古交一期Ⅱ-013 主控次要SC","SXGJ.T1_L2.WTG013.WTUR.AIStatusCode"]
[166,"古交风电场","WOF35100073",11,"d_古交一期Ⅱ-011 主控次要SC","SXGJ.T1_L2.WTG011.WTUR.AIStatusCode"]
[156,"古交风电场","WOF35100073",1,"d_古交一期Ⅰ-001 主控次要SC","SXGJ.T1_L1.WTG001.WTUR.AIStatusCode"]
[174,"古交风电场","WOF35100073",19,"d_古交一期Ⅲ-019 主控次要SC","SXGJ.T1_L3.WTG019.WTUR.AIStatusCode"]
[163,"古交风电场","WOF35100073",8,"d_古交一期Ⅱ-008 主控次要SC","SXGJ.T1_L2.WTG008.WTUR.AIStatusCode"]
[169,"古交风电场","WOF35100073",14,"d_古交一期Ⅱ-014 主控次要SC","SXGJ.T1_L2.WTG014.WTUR.AIStatusCode"]
[157,"古交风电场","WOF35100073",2,"d_古交一期Ⅰ-002 主控次要SC","SXGJ.T1_L1.WTG002.WTUR.AIStatusCode"]
[158,"古交风电场","WOF35100073",3,"d_古交一期Ⅰ-003 主控次要SC","SXGJ.T1_L1.WTG003.WTUR.AIStatusCode"]
[159,"古交风电场","WOF35100073",4,"d_古交一期Ⅰ-004 主控次要SC","SXGJ.T1_L1.WTG004.WTUR.AIStatusCode"]
[160,"古交风电场","WOF35100073",5,"d_古交一期Ⅰ-005 主控次要SC","SXGJ.T1_L1.WTG005.WTUR.AIStatusCode"]
[175,"古交风电场","WOF35100073",20,"d_古交一期Ⅲ-020 主控次要SC","SXGJ.T1_L3.WTG020.WTUR.AIStatusCode"]
[164,"古交风电场","WOF35100073",9,"d_古交一期Ⅱ-009 主控次要SC","SXGJ.T1_L2.WTG009.WTUR.AIStatusCode"]
[170,"古交风电场","WOF35100073",15,"d_古交一期Ⅱ-015 主控次要SC","SXGJ.T1_L2.WTG015.WTUR.AIStatusCode"]
[179,"古交风电场","WOF35100073",24,"d_古交一期Ⅲ-024 主控次要SC","SXGJ.T1_L3.WTG024.WTUR.AIStatusCode"]
[172,"古交风电场","WOF35100073",17,"d_古交一期Ⅲ-017 主控次要SC","SXGJ.T1_L3.WTG017.WTUR.AIStatusCode"]
[178,"古交风电场","WOF35100073",23,"d_古交一期Ⅲ-023 主控次要SC","SXGJ.T1_L3.WTG023.WTUR.AIStatusCode"]
[161,"古交风电场","WOF35100073",6,"d_古交一期Ⅰ-006 主控次要SC","SXGJ.T1_L1.WTG006.WTUR.AIStatusCode"]
[176,"古交风电场","WOF35100073",21,"d_古交一期Ⅲ-021 主控次要SC","SXGJ.T1_L3.WTG021.WTUR.AIStatusCode"]
[167,"古交风电场","WOF35100073",12,"d_古交一期Ⅱ-012 主控次要SC","SXGJ.T1_L2.WTG012.WTUR.AIStatusCode"]
[182,"石楼风电场","WOF35800081",3,"e_石楼一期Ⅰ-003 风机SC状态","SLRY.T1_L1.WTG003.WTUR.AIStatusCode"]
[180,"石楼风电场","WOF35800081",1,"e_石楼一期Ⅰ-001 风机SC状态","SLRY.T1_L1.WTG001.WTUR.AIStatusCode"]
[181,"石楼风电场","WOF35800081",2,"e_石楼一期Ⅰ-002 风机SC状态","SLRY.T1_L1.WTG002.WTUR.AIStatusCode"]
[199,"石楼风电场","WOF35800081",20,"e_石楼一期Ⅱ-020 风机SC状态","SLRY.T1_L2.WTG020.WTUR.AIStatusCode"]
[184,"石楼风电场","WOF35800081",5,"e_石楼一期Ⅰ-005 风机SC状态","SLRY.T1_L1.WTG005.WTUR.AIStatusCode"]
[200,"石楼风电场","WOF35800081",21,"e_石楼一期Ⅱ-021 风机SC状态","SLRY.T1_L2.WTG021.WTUR.AIStatusCode"]
[185,"石楼风电场","WOF35800081",6,"e_石楼一期Ⅰ-006 风机SC状态","SLRY.T1_L1.WTG006.WTUR.AIStatusCode"]
[201,"石楼风电场","WOF35800081",22,"e_石楼一期Ⅱ-022 风机SC状态","SLRY.T1_L2.WTG022.WTUR.AIStatusCode"]
[186,"石楼风电场","WOF35800081",10,"e_石楼一期Ⅰ-010 风机SC状态","SLRY.T1_L1.WTG010.WTUR.AIStatusCode"]
[202,"石楼风电场","WOF35800081",23,"e_石楼一期Ⅱ-023 风机SC状态","SLRY.T1_L2.WTG023.WTUR.AIStatusCode"]
[187,"石楼风电场","WOF35800081",11,"e_石楼一期Ⅰ-011 风机SC状态","SLRY.T1_L1.WTG011.WTUR.AIStatusCode"]
[203,"石楼风电场","WOF35800081",24,"e_石楼一期Ⅱ-024 风机SC状态","SLRY.T1_L2.WTG024.WTUR.AIStatusCode"]
[188,"石楼风电场","WOF35800081",12,"e_石楼一期Ⅰ-012 风机SC状态","SLRY.T1_L1.WTG012.WTUR.AIStatusCode"]
[189,"石楼风电场","WOF35800081",13,"e_石楼一期Ⅰ-013 风机SC状态","SLRY.T1_L1.WTG013.WTUR.AIStatusCode"]
[204,"石楼风电场","WOF35800081",25,"e_石楼一期Ⅱ-025 风机SC状态","SLRY.T1_L2.WTG025.WTUR.AIStatusCode"]
[190,"石楼风电场","WOF35800081",14,"e_石楼一期Ⅰ-014 风机SC状态","SLRY.T1_L1.WTG014.WTUR.AIStatusCode"]
[191,"石楼风电场","WOF35800081",15,"e_石楼一期Ⅰ-015 风机SC状态","SLRY.T1_L1.WTG015.WTUR.AIStatusCode"]
[192,"石楼风电场","WOF35800081",16,"e_石楼一期Ⅰ-016 风机SC状态","SLRY.T1_L1.WTG016.WTUR.AIStatusCode"]
[193,"石楼风电场","WOF35800081",7,"e_石楼一期Ⅱ-007 风机SC状态","SLRY.T1_L2.WTG007.WTUR.AIStatusCode"]
[194,"石楼风电场","WOF35800081",8,"e_石楼一期Ⅱ-008 风机SC状态","SLRY.T1_L2.WTG008.WTUR.AIStatusCode"]
[195,"石楼风电场","WOF35800081",9,"e_石楼一期Ⅱ-009 风机SC状态","SLRY.T1_L2.WTG009.WTUR.AIStatusCode"]
[196,"石楼风电场","WOF35800081",17,"e_石楼一期Ⅱ-017 风机SC状态","SLRY.T1_L2.WTG017.WTUR.AIStatusCode"]
[197,"石楼风电场","WOF35800081",18,"e_石楼一期Ⅱ-018 风机SC状态","SLRY.T1_L2.WTG018.WTUR.AIStatusCode"]
[183,"石楼风电场","WOF35800081",4,"e_石楼一期Ⅰ-004 风机SC状态","SLRY.T1_L1.WTG004.WTUR.AIStatusCode"]
[198,"石楼风电场","WOF35800081",19,"e_石楼一期Ⅱ-019 风机SC状态","SLRY.T1_L2.WTG019.WTUR.AIStatusCode"]
[111,"阳曲风电场","WOF35100072",6,"c_阳曲一期Ⅰ-006 风机SC状态","YNJS.T1_L1.WTG006.WTUR.AIStatusCode"]
[139,"阳曲风电场","WOF35100072",34,"c_阳曲一期Ⅲ-034 风机SC状态","YNJS.T1_L3.WTG034.WTUR.AIStatusCode"]
[149,"阳曲风电场","WOF35100072",44,"c_阳曲一期Ⅳ-044 风机SC状态","YNJS.T1_L4.WTG044.WTUR.AIStatusCode"]
[125,"阳曲风电场","WOF35100072",20,"c_阳曲一期Ⅱ-020 风机SC状态","YNJS.T1_L2.WTG020.WTUR.AIStatusCode"]
[108,"阳曲风电场","WOF35100072",3,"c_阳曲一期Ⅰ-003 风机SC状态","YNJS.T1_L1.WTG003.WTUR.AIStatusCode"]
[140,"阳曲风电场","WOF35100072",35,"c_阳曲一期Ⅲ-035 风机SC状态","YNJS.T1_L3.WTG035.WTUR.AIStatusCode"]
[121,"阳曲风电场","WOF35100072",16,"c_阳曲一期Ⅱ-016 风机SC状态","YNJS.T1_L2.WTG016.WTUR.AIStatusCode"]
[112,"阳曲风电场","WOF35100072",7,"c_阳曲一期Ⅰ-007 风机SC状态","YNJS.T1_L1.WTG007.WTUR.AIStatusCode"]
[136,"阳曲风电场","WOF35100072",31,"c_阳曲一期Ⅲ-031 风机SC状态","YNJS.T1_L3.WTG031.WTUR.AIStatusCode"]
[150,"阳曲风电场","WOF35100072",45,"c_阳曲一期Ⅳ-045 风机SC状态","YNJS.T1_L4.WTG045.WTUR.AIStatusCode"]
[141,"阳曲风电场","WOF35100072",36,"c_阳曲一期Ⅲ-036 风机SC状态","YNJS.T1_L3.WTG036.WTUR.AIStatusCode"]
[109,"阳曲风电场","WOF35100072",4,"c_阳曲一期Ⅰ-004 风机SC状态","YNJS.T1_L1.WTG004.WTUR.AIStatusCode"]
[113,"阳曲风电场","WOF35100072",8,"c_阳曲一期Ⅰ-008 风机SC状态","YNJS.T1_L1.WTG008.WTUR.AIStatusCode"]
[122,"阳曲风电场","WOF35100072",17,"c_阳曲一期Ⅱ-017 风机SC状态","YNJS.T1_L2.WTG017.WTUR.AIStatusCode"]
[114,"阳曲风电场","WOF35100072",9,"c_阳曲一期Ⅰ-009 风机SC状态","YNJS.T1_L1.WTG009.WTUR.AIStatusCode"]
[137,"阳曲风电场","WOF35100072",32,"c_阳曲一期Ⅲ-032 风机SC状态","YNJS.T1_L3.WTG032.WTUR.AIStatusCode"]
[154,"阳曲风电场","WOF35100072",49,"c_阳曲一期Ⅳ-049 风机SC状态","YNJS.T1_L4.WTG049.WTUR.AIStatusCode"]
[127,"阳曲风电场","WOF35100072",22,"c_阳曲一期Ⅱ-022 风机SC状态","YNJS.T1_L2.WTG022.WTUR.AIStatusCode"]
[134,"阳曲风电场","WOF35100072",29,"c_阳曲一期Ⅲ-029 风机SC状态","YNJS.T1_L3.WTG029.WTUR.AIStatusCode"]
[110,"阳曲风电场","WOF35100072",5,"c_阳曲一期Ⅰ-005 风机SC状态","YNJS.T1_L1.WTG005.WTUR.AIStatusCode"]
[128,"阳曲风电场","WOF35100072",23,"c_阳曲一期Ⅱ-023 风机SC状态","YNJS.T1_L2.WTG023.WTUR.AIStatusCode"]
[148,"阳曲风电场","WOF35100072",43,"c_阳曲一期Ⅳ-043 风机SC状态","YNJS.T1_L4.WTG043.WTUR.AIStatusCode"]
[123,"阳曲风电场","WOF35100072",18,"c_阳曲一期Ⅱ-018 风机SC状态","YNJS.T1_L2.WTG018.WTUR.AIStatusCode"]
[151,"阳曲风电场","WOF35100072",46,"c_阳曲一期Ⅳ-046 风机SC状态","YNJS.T1_L4.WTG046.WTUR.AIStatusCode"]
[107,"阳曲风电场","WOF35100072",2,"c_阳曲一期Ⅰ-002 风机SC状态","YNJS.T1_L1.WTG002.WTUR.AIStatusCode"]
[138,"阳曲风电场","WOF35100072",33,"c_阳曲一期Ⅲ-033 风机SC状态","YNJS.T1_L3.WTG033.WTUR.AIStatusCode"]
[142,"阳曲风电场","WOF35100072",37,"c_阳曲一期Ⅳ-037 风机SC状态","YNJS.T1_L4.WTG037.WTUR.AIStatusCode"]
[120,"阳曲风电场","WOF35100072",15,"c_阳曲一期Ⅱ-015 风机SC状态","YNJS.T1_L2.WTG015.WTUR.AIStatusCode"]
[126,"阳曲风电场","WOF35100072",21,"c_阳曲一期Ⅱ-021 风机SC状态","YNJS.T1_L2.WTG021.WTUR.AIStatusCode"]
[135,"阳曲风电场","WOF35100072",30,"c_阳曲一期Ⅲ-030 风机SC状态","YNJS.T1_L3.WTG030.WTUR.AIStatusCode"]
[124,"阳曲风电场","WOF35100072",19,"c_阳曲一期Ⅱ-019 风机SC状态","YNJS.T1_L2.WTG019.WTUR.AIStatusCode"]
[118,"阳曲风电场","WOF35100072",13,"c_阳曲一期Ⅰ-013 风机SC状态","YNJS.T1_L1.WTG013.WTUR.AIStatusCode"]
[143,"阳曲风电场","WOF35100072",38,"c_阳曲一期Ⅳ-038 风机SC状态","YNJS.T1_L4.WTG038.WTUR.AIStatusCode"]
[132,"阳曲风电场","WOF35100072",27,"c_阳曲一期Ⅲ-027 风机SC状态","YNJS.T1_L3.WTG027.WTUR.AIStatusCode"]
[152,"阳曲风电场","WOF35100072",47,"c_阳曲一期Ⅳ-047 风机SC状态","YNJS.T1_L4.WTG047.WTUR.AIStatusCode"]
[147,"阳曲风电场","WOF35100072",42,"c_阳曲一期Ⅳ-042 风机SC状态","YNJS.T1_L4.WTG042.WTUR.AIStatusCode"]
[115,"阳曲风电场","WOF35100072",10,"c_阳曲一期Ⅰ-010 风机SC状态","YNJS.T1_L1.WTG010.WTUR.AIStatusCode"]
[106,"阳曲风电场","WOF35100072",1,"c_阳曲一期Ⅰ-001 风机SC状态","YNJS.T1_L1.WTG001.WTUR.AIStatusCode"]
[129,"阳曲风电场","WOF35100072",24,"c_阳曲一期Ⅱ-024 风机SC状态","YNJS.T1_L2.WTG024.WTUR.AIStatusCode"]
[119,"阳曲风电场","WOF35100072",14,"c_阳曲一期Ⅱ-014 风机SC状态","YNJS.T1_L2.WTG014.WTUR.AIStatusCode"]
[144,"阳曲风电场","WOF35100072",39,"c_阳曲一期Ⅳ-039 风机SC状态","YNJS.T1_L4.WTG039.WTUR.AIStatusCode"]
[155,"阳曲风电场","WOF35100072",50,"c_阳曲一期Ⅳ-050 风机SC状态","YNJS.T1_L4.WTG050.WTUR.AIStatusCode"]
[116,"阳曲风电场","WOF35100072",11,"c_阳曲一期Ⅰ-011 风机SC状态","YNJS.T1_L1.WTG011.WTUR.AIStatusCode"]
[133,"阳曲风电场","WOF35100072",28,"c_阳曲一期Ⅲ-028 风机SC状态","YNJS.T1_L3.WTG028.WTUR.AIStatusCode"]
[130,"阳曲风电场","WOF35100072",25,"c_阳曲一期Ⅱ-025 风机SC状态","YNJS.T1_L2.WTG025.WTUR.AIStatusCode"]
[145,"阳曲风电场","WOF35100072",40,"c_阳曲一期Ⅳ-040 风机SC状态","YNJS.T1_L4.WTG040.WTUR.AIStatusCode"]
[117,"阳曲风电场","WOF35100072",12,"c_阳曲一期Ⅰ-012 风机SC状态","YNJS.T1_L1.WTG012.WTUR.AIStatusCode"]
[131,"阳曲风电场","WOF35100072",26,"c_阳曲一期Ⅱ-026 风机SC状态","YNJS.T1_L2.WTG026.WTUR.AIStatusCode"]
[146,"阳曲风电场","WOF35100072",41,"c_阳曲一期Ⅳ-041 风机SC状态","YNJS.T1_L4.WTG041.WTUR.AIStatusCode"]
[153,"阳曲风电场","WOF35100072",48,"c_阳曲一期Ⅳ-048 风机SC状态","YNJS.T1_L4.WTG048.WTUR.AIStatusCode"]
[205,"石楼风电场","WOF35800081",26,"e_石楼二期Ⅲ-026 主控次要SC","SLRY.T2_L3.WTG026.WTUR.StatusCode"]
[206,"石楼风电场","WOF35800081",27,"e_石楼二期Ⅲ-027 主控次要SC","SLRY.T2_L3.WTG027.WTUR.StatusCode"]
[207,"石楼风电场","WOF35800081",28,"e_石楼二期Ⅲ-028 主控次要SC","SLRY.T2_L3.WTG028.WTUR.StatusCode"]
[208,"石楼风电场","WOF35800081",29,"e_石楼二期Ⅲ-029 主控次要SC","SLRY.T2_L3.WTG029.WTUR.StatusCode"]
[209,"石楼风电场","WOF35800081",30,"e_石楼二期Ⅲ-030 主控次要SC","SLRY.T2_L3.WTG030.WTUR.StatusCode"]
[210,"石楼风电场","WOF35800081",31,"e_石楼二期Ⅲ-031 主控次要SC","SLRY.T2_L3.WTG031.WTUR.StatusCode"]
[211,"石楼风电场","WOF35800081",32,"e_石楼二期Ⅲ-032 主控次要SC","SLRY.T2_L3.WTG032.WTUR.StatusCode"]
[212,"石楼风电场","WOF35800081",33,"e_石楼二期Ⅲ-033 主控次要SC","SLRY.T2_L3.WTG033.WTUR.StatusCode"]
[213,"石楼风电场","WOF35800081",34,"e_石楼二期Ⅲ-034 主控次要SC","SLRY.T2_L3.WTG034.WTUR.StatusCode"]
[214,"石楼风电场","WOF35800081",35,"e_石楼二期Ⅳ-035 主控次要SC","SLRY.T2_L4.WTG035.WTUR.StatusCode"]
[215,"石楼风电场","WOF35800081",36,"e_石楼二期Ⅳ-036 主控次要SC","SLRY.T2_L4.WTG036.WTUR.StatusCode"]
[216,"石楼风电场","WOF35800081",37,"e_石楼二期Ⅳ-037 主控次要SC","SLRY.T2_L4.WTG037.WTUR.StatusCode"]
[217,"石楼风电场","WOF35800081",38,"e_石楼二期Ⅳ-038 主控次要SC","SLRY.T2_L4.WTG038.WTUR.StatusCode"]
[218,"石楼风电场","WOF35800081",39,"e_石楼二期Ⅳ-039 主控次要SC","SLRY.T2_L4.WTG039.WTUR.StatusCode"]
[219,"石楼风电场","WOF35800081",40,"e_石楼二期Ⅳ-040 主控次要SC","SLRY.T2_L4.WTG040.WTUR.StatusCode"]
[220,"石楼风电场","WOF35800081",41,"e_石楼二期Ⅳ-041 主控次要SC","SLRY.T2_L4.WTG041.WTUR.StatusCode"]
[221,"石楼风电场","WOF35800081",42,"e_石楼二期Ⅳ-042 主控次要SC","SLRY.T2_L4.WTG042.WTUR.StatusCode"]
[222,"石楼风电场","WOF35800081",43,"e_石楼二期Ⅳ-043 主控次要SC","SLRY.T2_L4.WTG043.WTUR.StatusCode"]
[223,"石楼风电场","WOF35800081",44,"e_石楼二期Ⅳ-044 主控次要SC","SLRY.T2_L4.WTG044.WTUR.StatusCode"]
[353,"平陆风电场","WOF35900004",49,"i_平陆三期 VI-49 风机SC状态","YCPL.T3_L1.WTG049.WTUR.AIStatusCode"]
[354,"平陆风电场","WOF35900004",50,"i_平陆三期 VI-50 风机SC状态","YCPL.T3_L1.WTG050.WTUR.AIStatusCode"]
[355,"平陆风电场","WOF35900004",51,"i_平陆三期 VI-51 风机SC状态","YCPL.T3_L1.WTG051.WTUR.AIStatusCode"]
[356,"平陆风电场","WOF35900004",52,"i_平陆三期 VI-52 风机SC状态","YCPL.T3_L1.WTG052.WTUR.AIStatusCode"]
[357,"平陆风电场","WOF35900004",53,"i_平陆三期 VI-53 风机SC状态","YCPL.T3_L1.WTG053.WTUR.AIStatusCode"]
[358,"平陆风电场","WOF35900004",54,"i_平陆三期 VI-54 风机SC状态","YCPL.T3_L1.WTG054.WTUR.AIStatusCode"]
[359,"平陆风电场","WOF35900004",55,"i_平陆三期 VI-55 风机SC状态","YCPL.T3_L1.WTG055.WTUR.AIStatusCode"]
[360,"平陆风电场","WOF35900004",56,"i_平陆三期 VI-56 风机SC状态","YCPL.T3_L1.WTG056.WTUR.AIStatusCode"]
[361,"平陆风电场","WOF35900004",57,"i_平陆三期 VI-57 风机SC状态","YCPL.T3_L1.WTG057.WTUR.AIStatusCode"]
[362,"平陆风电场","WOF35900004",58,"i_平陆三期 VI-58 风机SC状态","YCPL.T3_L1.WTG058.WTUR.AIStatusCode"]
[363,"平陆风电场","WOF35900004",59,"i_平陆三期 VI-59 风机SC状态","YCPL.T3_L1.WTG059.WTUR.AIStatusCode"]
[364,"平陆风电场","WOF35900004",60,"i_平陆三期 VI-60 风机SC状态","YCPL.T3_L1.WTG060.WTUR.AIStatusCode"]
[365,"平陆风电场","WOF35900004",62,"i_平陆三期 VII-62 风机SC状态","YCPL.T3_L2.WTG062.WTUR.AIStatusCode"]
[366,"平陆风电场","WOF35900004",63,"i_平陆三期 VII-63 风机SC状态","YCPL.T3_L2.WTG063.WTUR.AIStatusCode"]
[367,"平陆风电场","WOF35900004",64,"i_平陆三期 VII-64 风机SC状态","YCPL.T3_L2.WTG064.WTUR.AIStatusCode"]
[368,"平陆风电场","WOF35900004",65,"i_平陆三期 VII-65 风机SC状态","YCPL.T3_L2.WTG065.WTUR.AIStatusCode"]
[369,"平陆风电场","WOF35900004",66,"i_平陆三期 VII-66 风机SC状态","YCPL.T3_L2.WTG066.WTUR.AIStatusCode"]
[370,"平陆风电场","WOF35900004",67,"i_平陆三期 VII-67 风机SC状态","YCPL.T3_L2.WTG067.WTUR.AIStatusCode"]
[371,"平陆风电场","WOF35900004",68,"i_平陆三期 VII-68 风机SC状态","YCPL.T3_L2.WTG068.WTUR.AIStatusCode"]
[372,"平陆风电场","WOF35900004",69,"i_平陆三期 VII-69 风机SC状态","YCPL.T3_L2.WTG069.WTUR.AIStatusCode"]
[290,"西潘风电场","WOF35300077",1,"g_西潘一期I-001 风机SC状态","YQXP.T1_L1.WTG001.WTUR.AIStatusCode"]
[291,"西潘风电场","WOF35300077",2,"g_西潘一期I-002 风机SC状态","YQXP.T1_L1.WTG002.WTUR.AIStatusCode"]
[292,"西潘风电场","WOF35300077",3,"g_西潘一期I-003 风机SC状态","YQXP.T1_L1.WTG003.WTUR.AIStatusCode"]
[293,"西潘风电场","WOF35300077",4,"g_西潘一期I-004 风机SC状态","YQXP.T1_L1.WTG004.WTUR.AIStatusCode"]
[294,"西潘风电场","WOF35300077",5,"g_西潘一期I-005 风机SC状态","YQXP.T1_L1.WTG005.WTUR.AIStatusCode"]
[295,"西潘风电场","WOF35300077",6,"g_西潘一期I-006 风机SC状态","YQXP.T1_L1.WTG006.WTUR.AIStatusCode"]
[296,"西潘风电场","WOF35300077",7,"g_西潘一期I-007 风机SC状态","YQXP.T1_L1.WTG007.WTUR.AIStatusCode"]
[297,"西潘风电场","WOF35300077",8,"g_西潘一期I-008 风机SC状态","YQXP.T1_L1.WTG008.WTUR.AIStatusCode"]
[298,"西潘风电场","WOF35300077",9,"g_西潘一期I-009 风机SC状态","YQXP.T1_L1.WTG009.WTUR.AIStatusCode"]
[299,"西潘风电场","WOF35300077",10,"g_西潘一期I-010 风机SC状态","YQXP.T1_L1.WTG010.WTUR.AIStatusCode"]
[300,"西潘风电场","WOF35300077",11,"g_西潘一期I-011 风机SC状态","YQXP.T1_L1.WTG011.WTUR.AIStatusCode"]
[301,"西潘风电场","WOF35300077",12,"g_西潘一期I-012 风机SC状态","YQXP.T1_L1.WTG012.WTUR.AIStatusCode"]
[302,"西潘风电场","WOF35300077",13,"g_西潘一期I-013 风机SC状态","YQXP.T1_L2.WTG013.WTUR.AIStatusCode"]
[303,"西潘风电场","WOF35300077",14,"g_西潘一期Ⅱ-014 风机SC状态","YQXP.T1_L2.WTG014.WTUR.AIStatusCode"]
[304,"西潘风电场","WOF35300077",15,"g_西潘一期Ⅱ-015 风机SC状态","YQXP.T1_L2.WTG015.WTUR.AIStatusCode"]
[305,"西潘风电场","WOF35300077",16,"g_西潘一期Ⅱ-016 风机SC状态","YQXP.T1_L2.WTG016.WTUR.AIStatusCode"]
[306,"西潘风电场","WOF35300077",17,"g_西潘一期Ⅱ-017 风机SC状态","YQXP.T1_L2.WTG017.WTUR.AIStatusCode"]
[307,"西潘风电场","WOF35300077",18,"g_西潘一期Ⅱ-018 风机SC状态","YQXP.T1_L2.WTG018.WTUR.AIStatusCode"]
[308,"西潘风电场","WOF35300077",19,"g_西潘一期Ⅱ-019 风机SC状态","YQXP.T1_L2.WTG019.WTUR.AIStatusCode"]
[309,"西潘风电场","WOF35300077",20,"g_西潘一期Ⅱ-020 风机SC状态","YQXP.T1_L2.WTG020.WTUR.AIStatusCode"]
[310,"西潘风电场","WOF35300077",21,"g_西潘一期Ⅱ-021 风机SC状态","YQXP.T1_L2.WTG021.WTUR.AIStatusCode"]
[311,"西潘风电场","WOF35300077",22,"g_西潘一期Ⅱ-022 风机SC状态","YQXP.T1_L2.WTG022.WTUR.AIStatusCode"]
[312,"西潘风电场","WOF35300077",23,"g_西潘一期Ⅱ-023 风机SC状态","YQXP.T1_L2.WTG023.WTUR.AIStatusCode"]
[313,"西潘风电场","WOF35300077",24,"g_西潘一期Ⅱ-024 风机SC状态","YQXP.T1_L2.WTG024.WTUR.AIStatusCode"]
[314,"西潘风电场","WOF35300077",25,"g_西潘一期Ⅱ-025 风机SC状态","YQXP.T1_L2.WTG025.WTUR.AIStatusCode"]
[0,"马家梁风电场","WOF35200074",1,"a_马家梁一期Ⅰ-001 风机SC状态","MJLFD.T1_L1.WTG001.WTUR.AIStatusCode"]
[1,"马家梁风电场","WOF35200074",2,"a_马家梁一期Ⅰ-002 风机SC状态","MJLFD.T1_L1.WTG002.WTUR.AIStatusCode"]
[2,"马家梁风电场","WOF35200074",3,"a_马家梁一期Ⅰ-003 风机SC状态","MJLFD.T1_L1.WTG003.WTUR.AIStatusCode"]
[3,"马家梁风电场","WOF35200074",4,"a_马家梁一期Ⅰ-004 风机SC状态","MJLFD.T1_L1.WTG004.WTUR.AIStatusCode"]
[4,"马家梁风电场","WOF35200074",5,"a_马家梁一期Ⅰ-005 风机SC状态","MJLFD.T1_L1.WTG005.WTUR.AIStatusCode"]
[5,"马家梁风电场","WOF35200074",6,"a_马家梁一期Ⅰ-006 风机SC状态","MJLFD.T1_L1.WTG006.WTUR.AIStatusCode"]
[6,"马家梁风电场","WOF35200074",7,"a_马家梁一期Ⅰ-007 风机SC状态","MJLFD.T1_L1.WTG007.WTUR.AIStatusCode"]
[7,"马家梁风电场","WOF35200074",8,"a_马家梁一期Ⅰ-008 风机SC状态","MJLFD.T1_L1.WTG008.WTUR.AIStatusCode"]
[8,"马家梁风电场","WOF35200074",9,"a_马家梁一期Ⅰ-009 风机SC状态","MJLFD.T1_L1.WTG009.WTUR.AIStatusCode"]
[9,"马家梁风电场","WOF35200074",10,"a_马家梁一期Ⅰ-010 风机SC状态","MJLFD.T1_L1.WTG010.WTUR.AIStatusCode"]
[10,"马家梁风电场","WOF35200074",11,"a_马家梁一期Ⅰ-011 风机SC状态","MJLFD.T1_L1.WTG011.WTUR.AIStatusCode"]
[11,"马家梁风电场","WOF35200074",12,"a_马家梁一期Ⅰ-012 风机SC状态","MJLFD.T1_L1.WTG012.WTUR.AIStatusCode"]
[12,"马家梁风电场","WOF35200074",13,"a_马家梁一期Ⅰ-013 风机SC状态","MJLFD.T1_L1.WTG013.WTUR.AIStatusCode"]
[13,"马家梁风电场","WOF35200074",14,"a_马家梁一期Ⅱ-014 风机SC状态","MJLFD.T1_L2.WTG014.WTUR.AIStatusCode"]
[14,"马家梁风电场","WOF35200074",15,"a_马家梁一期Ⅱ-015 风机SC状态","MJLFD.T1_L2.WTG015.WTUR.AIStatusCode"]
[15,"马家梁风电场","WOF35200074",16,"a_马家梁一期Ⅱ-016 风机SC状态","MJLFD.T1_L2.WTG016.WTUR.AIStatusCode"]
[16,"马家梁风电场","WOF35200074",17,"a_马家梁一期Ⅱ-017 风机SC状态","MJLFD.T1_L2.WTG017.WTUR.AIStatusCode"]
[17,"马家梁风电场","WOF35200074",18,"a_马家梁一期Ⅱ-018 风机SC状态","MJLFD.T1_L2.WTG018.WTUR.AIStatusCode"]
[18,"马家梁风电场","WOF35200074",19,"a_马家梁一期Ⅱ-019 风机SC状态","MJLFD.T1_L2.WTG019.WTUR.AIStatusCode"]
[19,"马家梁风电场","WOF35200074",20,"a_马家梁一期Ⅱ-020 风机SC状态","MJLFD.T1_L2.WTG020.WTUR.AIStatusCode"]
[20,"马家梁风电场","WOF35200074",21,"a_马家梁一期Ⅱ-021 风机SC状态","MJLFD.T1_L2.WTG021.WTUR.AIStatusCode"]
[21,"马家梁风电场","WOF35200074",22,"a_马家梁一期Ⅱ-022 风机SC状态","MJLFD.T1_L2.WTG022.WTUR.AIStatusCode"]
[22,"马家梁风电场","WOF35200074",23,"a_马家梁一期Ⅱ-023 风机SC状态","MJLFD.T1_L2.WTG023.WTUR.AIStatusCode"]
[23,"马家梁风电场","WOF35200074",24,"a_马家梁一期Ⅱ-024 风机SC状态","MJLFD.T1_L2.WTG024.WTUR.AIStatusCode"]
[24,"马家梁风电场","WOF35200074",25,"a_马家梁一期Ⅱ-025 风机SC状态","MJLFD.T1_L2.WTG025.WTUR.AIStatusCode"]
[450,"太谷风电场","WOF35200075",1,"富风风场_A1-1 机组最新故障代码","FFFD.T1_L1.WTG001.WTUR.AIStatusCode"]
[457,"太谷风电场","WOF35200075",2,"富风风场_A1-2 机组最新故障代码","FFFD.T1_L1.WTG002.WTUR.AIStatusCode"]
[458,"太谷风电场","WOF35200075",3,"富风风场_A1-3 机组最新故障代码","FFFD.T1_L1.WTG003.WTUR.AIStatusCode"]
[459,"太谷风电场","WOF35200075",4,"富风风场_A1-4 机组最新故障代码","FFFD.T1_L1.WTG004.WTUR.AIStatusCode"]
[460,"太谷风电场","WOF35200075",5,"富风风场_A1-5 机组最新故障代码","FFFD.T1_L1.WTG005.WTUR.AIStatusCode"]
[461,"太谷风电场","WOF35200075",6,"富风风场_A1-6 机组最新故障代码","FFFD.T1_L1.WTG006.WTUR.AIStatusCode"]
[462,"太谷风电场","WOF35200075",7,"富风风场_A1-7 机组最新故障代码","FFFD.T1_L1.WTG007.WTUR.AIStatusCode"]
[463,"太谷风电场","WOF35200075",8,"富风风场_A1-8 机组最新故障代码","FFFD.T1_L1.WTG008.WTUR.AIStatusCode"]
[464,"太谷风电场","WOF35200075",9,"富风风场_A1-9 机组最新故障代码","FFFD.T1_L1.WTG009.WTUR.AIStatusCode"]
[451,"太谷风电场","WOF35200075",10,"富风风场_A1-10 机组最新故障代码","FFFD.T1_L1.WTG010.WTUR.AIStatusCode"]
[452,"太谷风电场","WOF35200075",11,"富风风场_A1-11 机组最新故障代码","FFFD.T1_L1.WTG011.WTUR.AIStatusCode"]
[453,"太谷风电场","WOF35200075",12,"富风风场_A1-12 机组最新故障代码","FFFD.T1_L1.WTG012.WTUR.AIStatusCode"]
[454,"太谷风电场","WOF35200075",13,"富风风场_A1-13 机组最新故障代码","FFFD.T1_L1.WTG013.WTUR.AIStatusCode"]
[455,"太谷风电场","WOF35200075",14,"富风风场_A1-14 机组最新故障代码","FFFD.T1_L1.WTG014.WTUR.AIStatusCode"]
[456,"太谷风电场","WOF35200075",15,"富风风场_A1-15 机组最新故障代码","FFFD.T1_L1.WTG015.WTUR.AIStatusCode"]
[465,"太谷风电场","WOF35200075",16,"富风风场_A2-16 机组最新故障代码","FFFD.T1_L2.WTG016.WTUR.AIStatusCode"]
[466,"太谷风电场","WOF35200075",17,"富风风场_A2-17 机组最新故障代码","FFFD.T1_L2.WTG017.WTUR.AIStatusCode"]
[467,"太谷风电场","WOF35200075",18,"富风风场_A2-18 机组最新故障代码","FFFD.T1_L2.WTG018.WTUR.AIStatusCode"]
[468,"太谷风电场","WOF35200075",19,"富风风场_A2-19 机组最新故障代码","FFFD.T1_L2.WTG019.WTUR.AIStatusCode"]
[469,"太谷风电场","WOF35200075",20,"富风风场_A2-20 机组最新故障代码","FFFD.T1_L2.WTG020.WTUR.AIStatusCode"]
[470,"太谷风电场","WOF35200075",21,"富风风场_A2-21 机组最新故障代码","FFFD.T1_L2.WTG021.WTUR.AIStatusCode"]
[471,"太谷风电场","WOF35200075",22,"富风风场_A2-22 机组最新故障代码","FFFD.T1_L2.WTG022.WTUR.AIStatusCode"]
[472,"太谷风电场","WOF35200075",23,"富风风场_A2-23 机组最新故障代码","FFFD.T1_L2.WTG023.WTUR.AIStatusCode"]
[473,"太谷风电场","WOF35200075",24,"富风风场_A2-24 机组最新故障代码","FFFD.T1_L2.WTG024.WTUR.AIStatusCode"]
[474,"太谷风电场","WOF35200075",25,"富风风场_A2-25 机组最新故障代码","FFFD.T1_L2.WTG025.WTUR.AIStatusCode"]
[475,"太谷风电场","WOF35200075",26,"富风风场_A2-26 机组最新故障代码","FFFD.T1_L2.WTG026.WTUR.AIStatusCode"]
[476,"太谷风电场","WOF35200075",27,"富风风场_A2-27 机组最新故障代码","FFFD.T1_L2.WTG027.WTUR.AIStatusCode"]
[477,"太谷风电场","WOF35200075",28,"富风风场_A2-28 机组最新故障代码","FFFD.T1_L2.WTG028.WTUR.AIStatusCode"]
[478,"太谷风电场","WOF35200075",29,"富风风场_A2-29 机组最新故障代码","FFFD.T1_L2.WTG029.WTUR.AIStatusCode"]
[479,"太谷风电场","WOF35200075",30,"富风风场_A2-30 机组最新故障代码","FFFD.T1_L2.WTG030.WTUR.AIStatusCode"]
[480,"太谷风电场","WOF35200075",31,"富风风场_A3-31 机组最新故障代码","FFFD.T1_L3.WTG031.WTUR.AIStatusCode"]
[481,"太谷风电场","WOF35200075",32,"富风风场_A3-32 机组最新故障代码","FFFD.T1_L3.WTG032.WTUR.AIStatusCode"]
[482,"太谷风电场","WOF35200075",33,"富风风场_A3-33 机组最新故障代码","FFFD.T1_L3.WTG033.WTUR.AIStatusCode"]
[483,"太谷风电场","WOF35200075",34,"富风风场_A3-34 机组最新故障代码","FFFD.T1_L3.WTG034.WTUR.AIStatusCode"]
[484,"太谷风电场","WOF35200075",35,"富风风场_A3-35 机组最新故障代码","FFFD.T1_L3.WTG035.WTUR.AIStatusCode"]
[485,"太谷风电场","WOF35200075",36,"富风风场_A3-36 机组最新故障代码","FFFD.T1_L3.WTG036.WTUR.AIStatusCode"]
[486,"太谷风电场","WOF35200075",37,"富风风场_A3-37 机组最新故障代码","FFFD.T1_L3.WTG037.WTUR.AIStatusCode"]
[487,"太谷风电场","WOF35200075",38,"富风风场_A3-38 机组最新故障代码","FFFD.T1_L3.WTG038.WTUR.AIStatusCode"]
[488,"太谷风电场","WOF35200075",39,"富风风场_A3-39 机组最新故障代码","FFFD.T1_L3.WTG039.WTUR.AIStatusCode"]
[489,"太谷风电场","WOF35200075",40,"富风风场_A3-40 机组最新故障代码","FFFD.T1_L3.WTG040.WTUR.AIStatusCode"]
[490,"太谷风电场","WOF35200075",41,"富风风场_A3-41 机组最新故障代码","FFFD.T1_L3.WTG041.WTUR.AIStatusCode"]
[491,"太谷风电场","WOF35200075",42,"富风风场_A3-42 机组最新故障代码","FFFD.T1_L3.WTG042.WTUR.AIStatusCode"]
[492,"太谷风电场","WOF35200075",43,"富风风场_A3-43 机组最新故障代码","FFFD.T1_L3.WTG043.WTUR.AIStatusCode"]
[493,"太谷风电场","WOF35200075",44,"富风风场_A3-44 机组最新故障代码","FFFD.T1_L3.WTG044.WTUR.AIStatusCode"]
[494,"太谷风电场","WOF35200075",45,"富风风场_A3-45 机组最新故障代码","FFFD.T1_L3.WTG045.WTUR.AIStatusCode"]
[315,"西潘风电场","WOF35300077",26,"g_西潘二期Ⅲ-026 导致机组停机的状态码","YQXP.T2_L3.WTG026.WTUR.StopCode"]
[316,"西潘风电场","WOF35300077",27,"g_西潘二期Ⅲ-027 导致机组停机的状态码","YQXP.T2_L3.WTG027.WTUR.StopCode"]
[317,"西潘风电场","WOF35300077",28,"g_西潘二期Ⅲ-028 导致机组停机的状态码","YQXP.T2_L3.WTG028.WTUR.StopCode"]
[318,"西潘风电场","WOF35300077",29,"g_西潘二期Ⅲ-029 导致机组停机的状态码","YQXP.T2_L3.WTG029.WTUR.StopCode"]
[319,"西潘风电场","WOF35300077",30,"g_西潘二期Ⅲ-030 导致机组停机的状态码","YQXP.T2_L3.WTG030.WTUR.StopCode"]
[320,"西潘风电场","WOF35300077",31,"g_西潘二期Ⅲ-031 导致机组停机的状态码","YQXP.T2_L3.WTG031.WTUR.StopCode"]
[321,"西潘风电场","WOF35300077",32,"g_西潘二期Ⅲ-032 导致机组停机的状态码","YQXP.T2_L3.WTG032.WTUR.StopCode"]
[322,"西潘风电场","WOF35300077",34,"g_西潘二期Ⅳ-034 导致机组停机的状态码","YQXP.T2_L4.WTG034.WTUR.StopCode"]
[323,"西潘风电场","WOF35300077",35,"g_西潘二期Ⅳ-035 导致机组停机的状态码","YQXP.T2_L4.WTG035.WTUR.StopCode"]
[324,"西潘风电场","WOF35300077",36,"g_西潘二期Ⅳ-036 导致机组停机的状态码","YQXP.T2_L4.WTG036.WTUR.StopCode"]
[325,"西潘风电场","WOF35300077",37,"g_西潘二期Ⅳ-037 导致机组停机的状态码","YQXP.T2_L4.WTG037.WTUR.StopCode"]
[326,"西潘风电场","WOF35300077",38,"g_西潘二期Ⅳ-038 导致机组停机的状态码","YQXP.T2_L4.WTG038.WTUR.StopCode"]
[327,"西潘风电场","WOF35300077",39,"g_西潘二期Ⅳ-039 导致机组停机的状态码","YQXP.T2_L4.WTG039.WTUR.StopCode"]
[328,"西潘风电场","WOF35300077",40,"g_西潘二期Ⅳ-040 导致机组停机的状态码","YQXP.T2_L4.WTG040.WTUR.StopCode"]
[25,"马家梁风电场","WOF35200074",26,"a_马家梁二期Ⅲ-026 主控重要SC","MJLFD.T2_L3.WTG026.WTUR.StatusCode1"]
[26,"马家梁风电场","WOF35200074",27,"a_马家梁二期Ⅲ-027 主控重要SC","MJLFD.T2_L3.WTG027.WTUR.StatusCode1"]
[27,"马家梁风电场","WOF35200074",28,"a_马家梁二期Ⅲ-028 主控重要SC","MJLFD.T2_L3.WTG028.WTUR.StatusCode1"]
[28,"马家梁风电场","WOF35200074",29,"a_马家梁二期Ⅲ-029 主控重要SC","MJLFD.T2_L3.WTG029.WTUR.StatusCode1"]
[29,"马家梁风电场","WOF35200074",30,"a_马家梁二期Ⅲ-030 主控重要SC","MJLFD.T2_L3.WTG030.WTUR.StatusCode1"]
[30,"马家梁风电场","WOF35200074",31,"a_马家梁二期Ⅲ-031 主控重要SC","MJLFD.T2_L3.WTG031.WTUR.StatusCode1"]
[31,"马家梁风电场","WOF35200074",32,"a_马家梁二期Ⅲ-032 主控重要SC","MJLFD.T2_L3.WTG032.WTUR.StatusCode1"]
[32,"马家梁风电场","WOF35200074",33,"a_马家梁二期Ⅲ-033 主控重要SC","MJLFD.T2_L3.WTG033.WTUR.StatusCode1"]
[33,"马家梁风电场","WOF35200074",34,"a_马家梁二期Ⅲ-034 主控重要SC","MJLFD.T2_L3.WTG034.WTUR.StatusCode1"]
[34,"马家梁风电场","WOF35200074",35,"a_马家梁二期Ⅲ-035 主控重要SC","MJLFD.T2_L3.WTG035.WTUR.StatusCode1"]
[35,"马家梁风电场","WOF35200074",36,"a_马家梁二期Ⅲ-036 主控重要SC","MJLFD.T2_L3.WTG036.WTUR.StatusCode1"]
[36,"马家梁风电场","WOF35200074",37,"a_马家梁二期Ⅳ-037 主控重要SC","MJLFD.T2_L4.WTG037.WTUR.StatusCode1"]
[37,"马家梁风电场","WOF35200074",38,"a_马家梁二期Ⅳ-038 主控重要SC","MJLFD.T2_L4.WTG038.WTUR.StatusCode1"]
[38,"马家梁风电场","WOF35200074",39,"a_马家梁二期Ⅳ-039 主控重要SC","MJLFD.T2_L4.WTG039.WTUR.StatusCode1"]
[39,"马家梁风电场","WOF35200074",40,"a_马家梁二期Ⅳ-040 主控重要SC","MJLFD.T2_L4.WTG040.WTUR.StatusCode1"]
[40,"马家梁风电场","WOF35200074",41,"a_马家梁二期Ⅳ-041 主控重要SC","MJLFD.T2_L4.WTG041.WTUR.StatusCode1"]
[41,"马家梁风电场","WOF35200074",42,"a_马家梁二期Ⅳ-042 主控重要SC","MJLFD.T2_L4.WTG042.WTUR.StatusCode1"]
[42,"马家梁风电场","WOF35200074",43,"a_马家梁二期Ⅳ-043 主控重要SC","MJLFD.T2_L4.WTG043.WTUR.StatusCode1"]
[43,"马家梁风电场","WOF35200074",44,"a_马家梁二期Ⅳ-044 主控重要SC","MJLFD.T2_L4.WTG044.WTUR.StatusCode1"]
[44,"马家梁风电场","WOF35200074",45,"a_马家梁二期Ⅳ-045 主控重要SC","MJLFD.T2_L4.WTG045.WTUR.StatusCode1"]
[45,"马家梁风电场","WOF35200074",46,"a_马家梁二期Ⅳ-046 主控重要SC","MJLFD.T2_L4.WTG046.WTUR.StatusCode1"]
[46,"马家梁风电场","WOF35200074",47,"a_马家梁二期Ⅳ-047 主控重要SC","MJLFD.T2_L4.WTG047.WTUR.StatusCode1"]
[47,"马家梁风电场","WOF35200074",48,"a_马家梁二期Ⅳ-048 主控重要SC","MJLFD.T2_L4.WTG048.WTUR.StatusCode1"]
[48,"马家梁风电场","WOF35200074",49,"a_马家梁二期Ⅳ-049 主控重要SC","MJLFD.T2_L4.WTG049.WTUR.StatusCode1"]
[444,"坡底风电场","WOF35900076",1,"坡底一期Ⅰ-01 首发故障码","PLPFD.T1_L1.WTG001.WTUR.AIStatusCode"]
[445,"坡底风电场","WOF35900076",2,"坡底一期Ⅰ-02 首发故障码","PLPFD.T1_L1.WTG002.WTUR.AIStatusCode"]
[446,"坡底风电场","WOF35900076",3,"坡底一期Ⅰ-03 首发故障码","PLPFD.T1_L1.WTG003.WTUR.AIStatusCode"]
[447,"坡底风电场","WOF35900076",4,"坡底一期Ⅰ-04 首发故障码","PLPFD.T1_L1.WTG004.WTUR.AIStatusCode"]
[448,"坡底风电场","WOF35900076",5,"坡底一期Ⅰ-05 首发故障码","PLPFD.T1_L1.WTG005.WTUR.AIStatusCode"]
[449,"坡底风电场","WOF35900076",6,"坡底一期Ⅰ-06 首发故障码","PLPFD.T1_L1.WTG006.WTUR.AIStatusCode"]
[436,"贺家沟风电场","WOF35800080",1,"l_贺家沟一期Ⅵ-01 风机SC状态","SSLF20219.T1_L6.WTG001.WTUR.AIStatusCode"]
[437,"贺家沟风电场","WOF35800080",2,"l_贺家沟一期Ⅵ-02 风机SC状态","SSLF20219.T1_L6.WTG002.WTUR.AIStatusCode"]
[438,"贺家沟风电场","WOF35800080",3,"l_贺家沟一期Ⅵ-03 风机SC状态","SSLF20219.T1_L6.WTG003.WTUR.AIStatusCode"]
[439,"贺家沟风电场","WOF35800080",4,"l_贺家沟一期Ⅵ-04 风机SC状态","SSLF20219.T1_L6.WTG004.WTUR.AIStatusCode"]
[440,"贺家沟风电场","WOF35800080",5,"l_贺家沟一期Ⅶ-05 风机SC状态","SSLF20219.T1_L7.WTG005.WTUR.AIStatusCode"]
[441,"贺家沟风电场","WOF35800080",6,"l_贺家沟一期Ⅶ-06 风机SC状态","SSLF20219.T1_L7.WTG006.WTUR.AIStatusCode"]
[442,"贺家沟风电场","WOF35800080",7,"l_贺家沟一期Ⅶ-07 风机SC状态","SSLF20219.T1_L7.WTG007.WTUR.AIStatusCode"]
[443,"贺家沟风电场","WOF35800080",8,"l_贺家沟一期Ⅶ-08 风机SC状态","SSLF20219.T1_L7.WTG008.WTUR.AIStatusCode"]